**Certificate of Calibration**

**Customer**

Aircraft Maintenance Section  
  
Air Technial Division, Wing41  
  
Suthep,Mueang, Chaing Mai 50200 Location of Calibration

บน.41

Model / Part Number : LFA-600 Date of Calibration 24-Sep-2025

Description : Low Frequency Analyzer 2 Due Date : 11-Sep-2025

Serial Number LFA002 Range -

Manufacturer CDI Certificate No. : 5

This document certifies that the above instrument has been calibrated and test in accordance by Metrology Division. Calibration procedures conducted under conditions noted with standard. This report shall not be reproduced except in full, with out the written approval of the written approval of the laboratory.

**Uncertainty of Measurement.**

The Uncertainty evaluation has been performed in accordance with (M3003). The reported expanded measurement uncertainty, which corresponds to a coverage probability of approximately 95%, is the standard uncertainty multiplied by the coverage factor k=2. Where this is not the case, coverage factor (k), coverage factor (k),effective degrees of freedom (veff) and coverage probability (p) are stated.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

testing

ดึงชื่อคนสอบ testing2

ดึงชื่อคน

Calibrated Approved

Certificate No. : 5

**Calibration Report**

**Environment of Calibration.**

The calibration was carried out in an ambient of temperature (23+/-3) °C , relative humidity (50+/-15) % and accomplished in an ambient environment controlled in the laboratory.

**Traceability.**

The measurements are traceable to the International System of Units

**Calibration Method.**

Initial testing found the instrument to be in-specification for the parameters tested. No adjustment was necessary to ensure the performance to published operating specifications.

**Standard Used.**

Asset No: Description Name: Maker / Model: Serial Number:

1 Weight Class E2 1 mg to 2 kg 22229943

ลำดับ ดึงชื่อเครื่องมือที่ใช้สอบเทียบ ดึง model ดึง serial

Certificate No.: 5

**Calibration Report**

**Calibration Results :**

Initial testing found the instrument to be in-specification for the parameters tested. No adjustment was necessary to ensure the performance to published operating specifications.

**1. DC VOLTAGE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **UUC Range** | **UUC. Setting** | **Measured Value** | **Uncertainty (±)** | **Tolerance Limit** |
| - | - | - | - | - |
| 50 mV | 50 mV | 50 mV | 0.0000 mV | 49.0035 – 50.0065 mV |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

**2. AC VOLTAGE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **UUC Range** | **UUC. Setting** | **Measured Value** | **Uncertainty (±)** | **Tolerance Limit** |
| - | - | - | - | - |
| 50 mV | 50 mV | 50 mV | 0.0000 mV | 45.0080 – 50.0020 mV |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

Certificate No.: 5

**Calibration Report**

**3. RESISTANCE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **UUC Range** | **UUC. Setting** | **Measured Value** | **Uncertainty (±)** | **Tolerance Limit** |
| - | - | - | - | - |
| 500 Ω | 500 Ω | 500 Ω | 0.0000 Ω | 499.0077 – 50.0033 Ω |
| 5 kΩ | 5 kΩ | 4.999 kΩ | - 0.0001 kΩ | 4.9977 – 5.0033 kΩ |
| kΩ | kΩ | kΩ | kΩ | kΩ |
| kΩ | kΩ | kΩ | kΩ | kΩ |
| kΩ | kΩ | kΩ | kΩ | kΩ |

LFA-600 CDI Low Frequency Analyzer 2 LFA002 - - N/A -

- 24-Sep-2025 11-Sep-2025 - 5 -

- ascas - ascas - -

testing2 testing

บน.41 Aircraft Maintenance Section  
  
Air Technial Division, Wing41  
  
Suthep,Mueang, Chaing Mai 50200 บน.41 Aircraft Maintenance Section  
  
Air Technial Division, Wing41  
  
Suthep,Mueang, Chaing Mai 50200

- - - - -

- - - -

-

- - - - -